## Slide 1: POST-FIRE HYDROLOGIC HAZARDS & MITIGATION STRATEGIES for Communities in Colorado
Colorado Intergovernmental Risk Sharing Agency
Discussion Panel
Andrew Earles, Ph.D., P.E., CPESC
Natalie Collar, CFM, HIT
Wayne Lorenz, P.E.
Wright Water Engineers, Inc.

## Slide 2: Post-fire Hydrologic Hazards & Values at Risk

## Slide 3
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION

## Slide 4: Impacts to structures
Structures at Risk
Anything on an alluvial fan
Near mapped and unmapped floodplains
Constructed prior to modern floodplain and building requirements
At the toe of steep slopes
In or downgradient of mapped landslides
In roadway overtopping flow paths
Rebuilding during recovery period
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION

## Slide 5
Photo Credit: B. Jarrett, USGS

## Slide 6: Risks to water infrastructure
About 32% of the 500 water
samples [in Paradise, CA] detected benzene at an average level of 27 parts per billion (ppb).
California's drinking water standard is one ppb; the federal standard is five ppb.
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION

## Slide 7: Mitigation Strategies

## Slide 8: How high are the risks and what are the consequences?
Increasing Risk
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION

## Slide 9: Assess risks to VARs
Probability of Loss or Damage | Magnitude of Consequences |  | 
 | Major | Moderate | Minor
Very Likely | Very High Risk | Very High Risk | Low to Intermediate Risk
Likely | Very High Risk | High Risk | Low to Intermediate Risk
Possible | High Risk | Intermediate Risk | Low to Intermediate Risk
Unlikely | Intermediate Risk | Low to Intermediate Risk | Low Risk
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION
Notes: R

## Slide 10: Debris retention – debris nets
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION
Source: https://www.geobrugg.com/

## Slide 11: Warning & Evacuation

## Slide 12: Install warning signs
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION

## Slide 13: Determine thresholds for warning & evacuation
Rules of thumb in Colorado:
0.25 inches of rain in 15-minutes on steep, severely burned slopes will generate runoff, mud, and debris
2-year rainfall event may trigger 10- to 100-year runoff response containing significant debris in severely burned watersheds
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION

## Slide 14: Resources for recovery - CWCB
https://www.coloradoewp.com/home

## Slide 15: Questions, Answers, & Discussion
Andrew Earles, Ph.D., P.E., CPESC & Natalie Collar, CFM, HIT, Wayne Lorenz, P.E.
Wright Water Engineers, Inc.
aearles@wrightwater.com
ncollar@wrightwater.com
wlorenz@wrightwater.com
(303) 480 1700
POST-FIRE HAZARDS & VARs
MITIGATION
WARNING & EVACUATION